REQUEST FOR QUOTATION (RFQ)

TITLE: **\_Various Supplies and Materials for Maintenance of Airconditioning units of New City Hall Building use, City of Talisay.** \_

|  |  |  |  |
| --- | --- | --- | --- |
| Items No. | Description | unit | quantity |
|  |  |  |  |
| 1 | Refrigerant 22 | 2 | Tanks |
| 2 | Refrigerant 410A | 2 | Tanks |
| 3 | Aircon Cleaning Cover w/ Drain Hose (2-3 Hp wall mount | 1 | Set |
| 4 | Aircon cleaning cover w/ drain hose (1-1 hp wall mount | 1 | Set |
| 5 | Aircon Coil Cleaner, Alkaline Base | 2 | Gals. |
| 6 | Aircon Access / Charging valve | 10 | Pcs. |
| 7 | R-22 Gauge Adaptor/Converter | 2 | Pcs. |
| 8 | R-410A gauge adaptor/converter | 2 | Pcs. |
| 9 | Silver rod | 10 | Pcs. |
| 10 | Capacitor single type, 3mf | 8 | Pcs. |
| 11 | Capacitor single type, 4mf | 8 | Pcs. |
| 12 | Capacitor single type, 5mf | 8 | Pcs. |
| 13 | Capacitor type, 7mf | 5 | Pcs. |
| 14 | Capacitor single type, 20mf | 8 | Pcs. |
| 15 | Capacitor single type, 40mf | 5 | Pcs. |
| 16 | Capacitor single type, 45mf | 5 | Pcs. |
| 17 | Capacitor single type, 55mf | 5 | Pcs. |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

APRROVED Budget for the Contract : **Php\_64,090.00**

Delivery Period : **\_10 days**